## Slide 1
student Tokarchuk T. S.
Research supervisor Anisimov A. A.
Advisor Bobrova Y. O.
Saint Petersburg Electrotechnical University
(ETU)
Biotechnical systems Department
MASTER THESIS
Topic:
Алгоритм Анализа Фетальной ЭКГ для Выявления Тревожных Состояний
(Algorithmic Analysis of ECG for Discovering Fetal Critical Conditions)
2021

## Slide 2: The Relevance of Fetal Monitoring

## Slide 3: The Relevance of Fetal Monitoring
Diagnostic ways:
  Biochemical samples
  Biotechnical analysis
    Ultrasound
    Cardiotocography
    Fetal ECG monitoring

## Slide 4: The Relevance of Fetal Monitoring
Diagnostic ways:
  Biochemical samples
  Biotechnical analysis
    Ultrasound
    Cardiotocography
    Fetal ECG monitoring

## Slide 5: Goals and tasks
Goal: The Development of algorithm based on fetal ECG analysis for discovering fetal critical conditions.
Tasks:
Development of the preprocessing chain.
Development and improvement of the Fetal ECG extraction algorithm.
Development of the fetal heart rate analysis algorithm.
Fetal ECG extraction and FHR analysis algorithm evaluation

## Slide 6: Fetal ECG Monitoring

## Slide 7: Preprocessing Stage
Signal noises:
  Powerline interference.
  Baseline drift.
  High frequency noises.
  Artefacts.

## Slide 8: Preprocessing Stage
Methods to cope with noises:
  Notch filtering
  Wavelet decomposition
  Bandpass filtering

## Slide 9: Fetal ECG Extraction
Extraction steps:
  FastICA
  QRS Detection
  Peak Enhancement
  Template Subtraction
Advantages:
  High computational speed.
  Low memory usage.
  Sustainability to additive noise.
Disadvantages:
  Only one gaussian source allowed.
  High number of channels required.

## Slide 10
Independent component analysis

## Slide 11
Fetal ECG Extraction Algorithm

## Slide 12: Fetal extraction algorithm evaluation
 | R01 | R04 | R07* | R08** | R10**
TP | 609 | 372 | 438 | 296 | 268
FP | 36 | 253 | 203 | 31 | 55
FN | 35 | 260 | 189 | 33 | 55
TPR | 0.95 | 0.59 | 0.70 | 0.90 | 0.83
PPV | 0.95 | 0.59 | 0.68 | 0.91 | 0.83
Acc | 0.90 | 0.42 | 0.53 | 0.82 | 0.71
F1 | 0.94 | 0.59 | 0.69 | 0.90 | 0.83

## Slide 13: Fetal heart rate analysis
Processing:
  Median filtration
Features used:
  Baseline
  AmpStd
  Number of accelerations
  Number of decelerations
    Mild
    Prolonged
    Severe

## Slide 14
Fetal Heart Rate Decision Algorithm
Green – Safe
Yellow – Attention
Red – Danger

## Slide 15: Fetal heart rate algorithm evaluation
 | trace 1 | trace 2 | trace 10 | trace 26 | trace 28
Level | 1 | 1 | 1 | 0 | 0
Baseline, bpm | 170 | 161 | 177 | 118 | 139
AmpStd, bpm | 7.4 | 7.0 | 5.3 | 6.2 | 8
Acc_num | 0 | 0 | 0 | 13 | 17
Dec_Mild | 29 | 19 | 8 | 0 | 38
Dec_Prolonged | 1 | 2 | 0 | 0 | 0
Dec_Severe | 0 | 0 | 0 | 0 | 0

## Slide 16: Conclusion
Project include:
Development of the preprocessing chain
Development of the FHR Extraction algorithm.
  Modification of Pan and Tompkins Processing and Search algorithms.
  Development of the Enhance Peak Position method.
  Modification of the Template Subtraction method.
The Development of FHR analysis and decision making algorithms.
  Future investigations should include the development of electrode positioning system, appropriate for obtaining at least two channels with mECG and fECG, and algorithm optimization and adaptation for a concrete acquisition system.

## Slide 17
Thanks for attention